## Checklist NEST Ver1
IGBC's NEST (Ver 1.0) (Eco-Friendly Self Developed Tenements)
Applicable to New & Existing Buildings with BUA less than or equal to 150 Sq.mtr
Project Registration Number
Housing Finance/Partner Institution
Name of Owner
Project Location Full Address with Pincode
Total site area (sq. m)
Total Built-up (sq. m)
|  | Type of Building |  | Existing
Attempted | Not Attempted | NEST Criteria | Applicability |  | Mandatory /Credit | Requirements | Documents
|  |  | New | Existing
Y | Y | Local Building Regulations | ✓ | ✓ | M | Approved Plan from local municipal authority |  | Approved Plans | TRUE | TRUE
Y |  | Waste Segregation - Dry & Wet | ✓ | ✓ | M | Provide 2 separate bins to collect dry waste (paper, plastic, metals, glass, etc.,) and wet waste (organic). |  | Photographs of 2 separate bins | TRUE
Y |  | Rainwater Harvesting 500 Liters | ✓ | ⮾ | M | Rainwater harvesting system to capture at least 500 litres from the entire site area run-off. Or Project can have rainwater harvesting pit to capture run-off from roof. |  | Photograph of rainwater harvesting pits | TRUE
1 |  | Top soil Preservation | 1 | ⮾ | C | Preserve top 150-200 mm soil during excavation |  | Photographs of top soil preservation | TRUE | TRUE
2 | 2 | Setbacks | 2 | 2 | C | Provide minimum of 2 ft setback on 2 sides or as per local building norms(1 point) More than 2 sides or as per building norms (2 points) |  | Photographs of setback areas | TRUE | TRUE
2 |  | Vegetation > 30 sqft and ≤50 sq.ft Minimum | 2 | 2 | C | Provide the vegetation either on mother earth or built - up structures as follows: 30 sqft area - 1 Point 50 sqft area - 2 Points. |  | Photographs of trees, ground cover and natural topography. | TRUE | FALSE
[8 empty] | Provide the Total Site Area and Landscape Area. | TRUE
|  | Vegetables/Fruits - 2 varieties | ⮾ | 1 | C | Grow a minimum of two vegetable/Fruit species. |  | Photographs of the vegetable plants | FALSE
2 |  | Indoor Plants | 2 | 2 | C | Grow the Indoor Plants: 5 Plants - 1 Point. 15 Plants - 2 Points. |  | Photographs of the indoor plants. | TRUE
[8 empty] | List of indoor plants. | TRUE
1 |  | Two wheeler shading | 1 | 1 | C | Provide shade for Two wheeler either by tree shade or under the permanent shed. |  | Photographs of the Two wheeler shading | TRUE
1 |  | Best Practices during Construction | 1 | ⮾ | C | Implement any three following measures during the construction: Barrication Dust Suppression Material Stacking Drinking Water First - Aid |  | Photographs of the each measure implemented. | TRUE
1 |  | White finish | 1 | 1 | C | Use materials with China mosaic/light coloured paint/reflective coating/vegetation combination of any of the above |  | Photograph of roof area with China mosaic/light coloured paint/reflective coating | TRUE | TRUE
2 |  | Enhanced Rainwater Harvesting and Reuse | 2 | 2 | C | Rainwater harvesting system to capture at least 750 Litres for every entire site area runoff (1 point) & Reuse provision for harvested water (1 point) Or Project can have rainwater harvesting pit to capture roof run-off. Note: For an existing well or borewell the project shall be awarded 2 points |  | Photograph of rainwater harvesting pits | TRUE | FALSE
[8 empty] | Photographs of Reuse application | TRUE | FALSE
5 |  | Water Saving Fixtures | 5 | 5 | C | Provide efficient water fixtures: Dual flush cistern for Commode -2 points Tap with aerators - 1 point Showers with aerators - 1 point Health faucet with aerators - 1 point |  | Photographs of taps, health faucet and showers with aerators |  | TRUE
[8 empty] | Photographs of dual flush |  | TRUE
2 |  | Water Metering, Water Level Controllers | 2 | 2 | C | Provide the following: Water metering - 1 point Automatic water level controllers for Overhead tank - 1 point |  | Photographs of water level controllers |  | TRUE
[8 empty] | Photograph of water meter |  | TRUE
3 |  | Efficient Envelope | 3 | ⮾ | C | Implement the energy efficiency measures for building envelope listed in the below table: |  | Construction photographs of blocks | TRUE | TRUE
[8 empty] | Photographs and details of roof assembly. | TRUE
|  | Energy Efficient Appliances | 4 | 7 | C | Procure the 100% BEE / Energy Certified for each home appliances listed: |  | Photographs of LED Lights | TRUE
[8 empty] | Photographs of inverter technology based refrigerator | TRUE
[8 empty] | Photographs of installed energy efficient fans with star rating. | TRUE
[8 empty] | Photographs of installed energy efficient geyser with star rating. |  | TRUE
[8 empty] | Photographs of invertor technology based Air Conditioner with star rating. |  | TRUE
1 |  | Sun shades/ Chajjas | 1 | 1 | C | All exterior openings (fenestration) shall have sun-shades/ chajjas of minimum 400mm |  | Photographs of chajjas/sun-shades |  | TRUE
|  | Renewable Energy 0.5 kW, 1 kW | 2 | 2 | C | Install the On-site renewable solar energy system: |  | Purchase invoice of solar panels |  | TRUE
[8 empty] | Photographs of installed solar panels |  | TRUE
TRUE
TRUE
|  | Kitchen waste composting | 1 | 1 | C | Provide kambha/compost pit/compost bin at the household level. Note: Make use of the compost generated to nourish the provided vegetation. |  | Photographs of khamba/compost pit | TRUE | FALSE
|  | Green Procurement - Ecolabelled | 4 | 1 | C | Use of Green certified/GreenPro Construction Materials: (1 point for each; maximum 4 points) Cement RMC Paints & Adhesives False Ceiling Tiles Steel Blocks MDF/Rapidly Renewable Wood Glass Aggregates (M-Sand/Crushed Sand/Artificial Sand) High SRI Paint Composite Frames Plumbing fixtures |  | Photographs of the Green materials used during construction | TRUE | FALSE
[8 empty] | Invoice for the materials purchased | TRUE | TRUE
FALSE
Technical cutsheets of Green Materials
|  | Daylighting 25%, 50%, 75 %, 95% | 4 | 4 | C | Ensure a minimum daylighting of 110 Lux during the daytime. |  | Floor plans with door/window schedules and elevations of the door/windows | TRUE | FALSE
[8 empty] | Interior photographs of rooms with window openings. | TRUE
[8 empty] | Daylighting calculation template(Annexure1) | FALSE | TRUE
|  | Ventilation 5 %,7.5 %,10% openable windows | 3 | 3 | C | Provide windows for proper ventilation in the regularly occupied areas. |  | Floor plans with door/window schedules and elevations of the door/windows | TRUE
[8 empty] | Interior photographs of rooms with window, ventilator. | TRUE
[8 empty] | Ventilation calculation template(Annexure2) | TRUE
|  | Exhaust System | 2 | 2 | C | Provide exhaust systems in kitchen and bathrooms: Opening provision - 1 point Exhaust Fan - 1 point |  | Photograph of opening kitchen and bathroom | TRUE | TRUE
[8 empty] | Photograph of exhaust system (fans) in kitchen and bathroom | FALSE | FALSE
|  | Cross Ventilation | 3 | 3 | C | Ensure two openings (window/ventilator) in each space Living room/Kitchen - 1 point Each Bed Room - 1 Point (Max 2) |  | Provide floor plans highlighting the openings | TRUE | FALSE
[8 empty] | Interior photographs of rooms. | TRUE | TRUE
|  | Green House Keeping Chemicals | ⮾ | 1 | C | Procure the green certified/organic house keeping chemicals. |  | Photographs of housekeeping chemicals | FALSE
|  | Innovation | 3 | 1 | C | Innovative and Exemplary performance in the green building categories. |  | Supporting proof documents of each innovation and exemplary credits. | TRUE
|  | IGBC AP Accredited Professional | 1 | 1 | C | Support and Encourage the involvement of IGBC Accredited Professional in the project. |  | IGBC Accredited Professional Certificate. | TRUE
23 | 2 | Total Points | 50 | 45 | Minimum Threshold for Certification : New Project - 25 Points, Existing Project - 20 Points
The project meets the requirement for NEST Certification

## Annexure 1
Room Details | Room Area (Sq. m) | Window Area (Sq. m) | Calculated Glazing Factor | Required Glazing Factor | Complied Area
None | 10 | 1 | 0 | 1 | 10
Dinning | 10 | 1 | 1.2 | 1 | 10
Bedroom -1 | 10 | 1 | 1.2 | 1 | 10
Kitchen | 10 | 1 | 1.2 | 2 | 0
None |  |  | 0 | 1 | 0
None |  |  | 0 | 1 | 0
None |  |  | 0 | 1 | 0
None |  |  | 0 | 1 | 0
Total Complied Area |  |  |  |  | 75%

## Annexure 2
Room Details | Room Area | Window Area | Type of Window |  | W/F Area Ratio
Dinning | 10 | 2 | Casement | 0.95 | 19
Living | 10 | 2 | Casement | 0.95 | 19 | Casement
Bedroom -1 | 10 | 3 | 3 -Sliding | 0.66 | 19.8 | 2- Sliding
Bedroom -2 | 10 | 3 | Casement | 0.95 | 28.5 | 3 -Sliding
Bedroom -3 | 10 | 2 | 3 -Sliding | 0.66 | 13.2 | None
Others | 10 | 3 | Casement | 0.95 | 28.5
None | 12 | 2 | Casement | 0.95 | 10
None | 12 | 1 | 2- Sliding | 0.5 | 10
Compliance |  | 2 Point is awarded

## Setup (hidden)
Type of Room | Type of Window | Glazing Factor | Type of Rating
Living | Casement | 1 | New
Dinning | 2- Sliding | 2 | Existing
Bedroom -1 | 3 -Sliding
Bedroom -2 | None
Bedroom -3
Kitchen
Others
None